## Inputs
# | Category | Name | Kind | Config key | Code ref | Notes
1 | Battery / house | sensor.battery_state_of_capacity | HA entity | battery.soc_entity | run.py:460, 1741
2 | Battery / house | sensor.solar_pv_total_ac_power | HA entity | sensors.pv_power | run.py:1520, 1747
3 | Battery / house | sensor.house_load_power | HA entity | sensors.load_power | run.py:1521, 1748
4 | Battery / house | sensor.surplus_power | HA entity | sensors.surplus_power | run.py:1749 | Rolling 30 s average (3 x 10 s samples)
5 | Battery / house | number.battery_maximum_discharging_power | HA entity | battery.discharge_control_entity | run.py:740, 782 | Read-back of its own write (dedup source)
6 | Grid | sensor.power_meter_active_power | HA entity | sensors.dtsu_grid_power | run.py:1598, 1614 | DTSU meter
7 | Grid | sensor.grid_power | HA entity | sensors.mbus_grid_power | run.py:1600 | Value + last_updated age (M-Bus watchdog)
8 | Wallbox (ocpp-server) | sensor.wallbox_power | HA entity | ev_charging.wallbox_power_entity | run.py:1152, 1708
9 | Wallbox (ocpp-server) | sensor.wallbox_status | HA entity | ev_charging.wallbox_status_entity | run.py:1664
10 | Wallbox (ocpp-server) | binary_sensor.wallbox_connected | HA entity | ev_charging.wallbox_connected_entity | run.py:1653
11 | Wallbox (ocpp-server) | sensor.wallbox_energy | HA entity | ev_charging.wallbox_session_energy_entity | run.py:1959 | Session energy, Wh
12 | Wallbox (ocpp-server) | sensor.wallbox_min_power_w | HA entity | HARDCODED | run.py:1711 | Falls back to ev_charging.min_power_w
13 | Wallbox (ocpp-server) | sensor.wallbox_max_power_w | HA entity | HARDCODED | run.py:1712 | Falls back to ev_charging.max_power_w
14 | Wallbox (ocpp-server) | sensor.wallbox_phases | HA entity | HARDCODED | run.py:1719 | Cable phase count; drives power_steps_for_phases()
15 | Car (Smart) | sensor.smart_battery | HA entity | smart.soc_entity | run.py:485, 1788, 1966 | Also read for staleness via last_updated
16 | Car (Smart) | sensor.smart_battery_last_known | HA entity | smart.soc_last_known_entity | run.py:851, 919, 1957
17 | Car (Smart) | sensor.smart_charging_max_last_known | HA entity | smart.charging_max_entity | run.py:636, 852, 920, 1789 | EV fullness test for the shaving-day latch
18 | Car (Smart) | binary_sensor.car_ready | HA entity | ev_charging.car_ready_entity | run.py:1724
19 | User helpers | input_select.ev_charging_mode | HA entity | ev_charging.mode_entity | run.py:1668, 1728, 2284 | Also written by EM - see Outputs
20 | User helpers | input_number.ev_target_soc | HA entity | ev_charging.target_soc_entity | run.py:1955
21 | User helpers | input_number.ev_manual_power | HA entity | ev_charging.manual_power_entity | run.py:1744
22 | User helpers | input_number.ev_min_solar_power | HA entity | ev_charging.min_solar_power_entity | run.py:1780
23 | InfluxDB | pv_forecast / pv_forecast / power_w_p10¦p50¦p90 | InfluxDB | influxdb.pv_bucket | forecast_reader.py:87 | PV forecast percentiles
24 | InfluxDB | pv_forecast / pv_forecast_metadata / value | InfluxDB | influxdb.pv_bucket | forecast_reader.py:239
25 | InfluxDB | pv_forecast / pv_forecast / run_time | InfluxDB | influxdb.pv_bucket | forecast_reader.py:265 | Forecast staleness guard
26 | InfluxDB | load_forecast / load_forecast / power_w_p{n} | InfluxDB | influxdb.load_bucket | forecast_reader.py:132 | Load forecast percentiles
27 | InfluxDB | HuaweiNew / Energy / BATT_Level | InfluxDB | influxdb.soc_bucket / .soc_measurement / .soc_field | run.py:467 | Battery SOC history
28 | InfluxDB | HomeAssistant / battery_state_of_capacity / value | InfluxDB | HARDCODED bucket | run.py:1191 | Last time SOC >= 99 % (calibration-charge due)
29 | InfluxDB | HomeAssistant / <own entities> / value | InfluxDB | HARDCODED bucket | run.py:2213 | Restores its own sensors at startup
30 | InfluxDB | energy_manager / soc_forecast / soc_percent | InfluxDB | influxdb.output_bucket | ev_battery.py:78, 133, 150 | Its own output, read back (feedback loop)
31 | InfluxDB (flows_daily) | HomeAssistant / grid_power | InfluxDB | HARDCODED | flows_daily.py:179 | Import/export integrated from M-Bus power
32 | InfluxDB (flows_daily) | HomeAssistant / wallbox_energy | InfluxDB | HARDCODED | flows_daily.py:26 | Car, Wh, resets per session
33 | InfluxDB (flows_daily) | HomeAssistant / shelly_2pm_white_switch_1_energy | InfluxDB | HARDCODED | flows_daily.py:27 | Desk
34 | InfluxDB (flows_daily) | HomeAssistant / shelly_2pm_white_switch_0_energy | InfluxDB | HARDCODED | flows_daily.py:28 | Bench
35 | InfluxDB (flows_daily) | HomeAssistant / load_energy | InfluxDB | HARDCODED | flows_daily.py:29 | House, Shelly 3EM total, excl. car
36 | InfluxDB (flows_daily) | HomeAssistant / battery_state_of_capacity | InfluxDB | HARDCODED | flows_daily.py:232
37 | InfluxDB (flows_daily) | HomeAssistant / inverter_daily_yield | InfluxDB | HARDCODED | flows_daily.py:36 | Huawei production
38 | InfluxDB (flows_daily) | HomeAssistant / enphase_energy_today | InfluxDB | HARDCODED | flows_daily.py:36 | Enphase production
39 | Config | /addon_configs/8d023bea_energy-manager/energy-manager.yaml | File | - | run.py:2395-2417 | Merged over shipped energy-manager.yaml.example (user wins)
40 | Config | INFLUXDB_TOKEN, TELEGRAM_BOT_TOKEN, TELEGRAM_CHAT_ID | Env var | - | config.yaml schema | Secrets from the HA add-on UI

## Outputs
# | Category | Name | Kind | Config key | Code ref | Notes | Rules that set the value | Inputs used by those rules
1 | Actuator | number.battery_maximum_charging_power | HA number | battery.charge_control_entity | run.py:1222 | Written on every cycle, all 6 exit paths. Dedup: in-process _last_charge_power_w | FSD 4.2.3 / 4.2.4 - first match wins, re-evaluated every 15 min (stateless per tick): 1. Topic 3 hold: charge_target_enabled AND SOC >= battery_target_soc -> 0 W 2. Gate inactive (charge_shaving_enabled=false, OR day mode = car_day) -> max_charge_w (use case A, greedy) 3. Forecast stale -> max_charge_w (fail-safe; never leave the battery under-filled) 4. B0 marginal day: battery not forecast to fill today under p10 PV x fill_margin -> max_charge_w 5. BR reserve floor: SOC < charge_shaving_reserve_soc -> max_charge_w (bank the floor at full power) 6. Water-fill: should_charge_now(rest-of-day surplus curve, headroom, surplus now, charge_shaving_power_w x 0.25) -> charge_shaving_power_w, else 0 W (defer, shave the peak) Day-mode latch feeding rule 2 - decided ONCE at shaving_decision_hour, held to local midnight: EV full (smart_battery_last_known >= smart_charging_max_last_known) -> shaving_day; else car_day. One-way downgrade: a shaving day reverts to car_day when the car departs (SOC drops below target). | sensor.battery_state_of_capacity PV forecast p10 + load forecast p50 (net_energy_wh, rest of today) pv_forecast run_time (freshness guard) sensor.smart_battery_last_known sensor.smart_charging_max_last_known derived: battery_target_soc (see end_of_charge_soc) config: charge_shaving_enabled, shaving_decision_hour, charge_shaving_reserve_soc, charge_shaving_fill_margin, charge_shaving_power_w, max_charge_w, capacity_kwh
2 | Actuator | number.battery_maximum_discharging_power | HA number | battery.discharge_control_entity | run.py:759 | Dedup: reads the device value first (self-healing) | FSD 4.2.2 (Topic 4). Value = max_discharge_w when allowed, else 0. allowed = NOT (blocked_by_protection OR blocked_by_ev) - two independent reasons, OR'd: Protection (calculate_decision): simulate the next 48 h twice - battery_on = free discharge battery_off = hold discharge during cheap slots Sum expensive-hour grid import (Wh) for each; the LOWER wins, ties go to battery_on. Block only when battery_off wins AND the current slot is cheap. No hysteresis (the metric is a stable cost). EV block: EV charging in IMMEDIATE or CHEAP with target power > 0 -> block. | sensor.battery_state_of_capacity Combined PV/load forecast, 48 h horizon EBL tariff calendar (weekday_cheap_start/end, weekend_all_day_cheap, holidays) EV state machine state + target power config: max_discharge_w, reserve_percent (discharge floor)
3 | Actuator | number.battery_end_of_charge_soc | HA number | battery.end_of_charge_soc_entity | run.py:1253 | Range 90-100 %. Written ONLY while the charge target is enabled. Dedup: in-process _last_soc_ceiling | FSD 4.2.4 (compute_charge_target) - first match wins: 1. Calibration due (rolling charge_target_full_interval_days since SOC >= 99 %) -> 100 % 2. Forecast stale / missing / empty -> 100 % (fail-safe) 3. No forecast inside the horizon -> 100 % 4. Uncapped (charge-to-100) worst case dips below no_buy_floor_percent -> 100 % 5. Else binary search (8 iterations) for the LOWEST ceiling that keeps the worst-case trough >= no_buy_floor_percent over charge_target_horizon_h, measured only from the end of today's charging window (last interval today where PV > load) so today's transient pre-charge low cannot force a full charge. target = max(survival + charge_target_margin, charge_target_min, no_buy_floor_percent) Register write clamps to 90-100 (the inverter accepts no lower ceiling). Disabled: EM does not own the register - it writes nothing, and releases to 100 % only if its own last written ceiling was below 100. | sensor.battery_state_of_capacity Worst-case forecast (p10 PV / p50 load, net_energy_wh) InfluxDB HomeAssistant / battery_state_of_capacity - last time SOC >= 99 % pv_forecast run_time (freshness guard) config: charge_target_enabled, no_buy_floor_percent, charge_target_margin, charge_target_min, charge_target_horizon_h, charge_target_full_interval_days
4 | Actuator | number.wallbox_power_limit | HA state push | ev_charging.wallbox_power_limit_entity | run.py:2079 | Consumed by ocpp-server, then the wallbox. 30 s rate limit; 0 W bypasses | FSD 4.3.x - the EV state machine picks target_power_w; IDLE/SOLAR/CHEAP/IMMEDIATE. SOLAR: power = snap_to_power_step(rolling 30 s surplus) on the phase-specific step table, clamped to [wallbox_min_power_w, wallbox_max_power_w]. Start needs surplus >= solar_start_threshold (3-phase: ev_min_solar_power; 1-phase: the wallbox minimum). Topic 1 target gate: if the car-excluded forecast says the home battery can no longer reach its charge target today -> no candidates, 0 W (battery has priority). Topic 2 step-up: the step ABOVE surplus (gap drawn from the home battery) is offered only when the 48 h forecast min SOC AND the current SOC are both >= no_buy_floor_percent. Suppressed when the p10 forecast says battery and car both reach target by evening (stepping up buys nothing and pays a round-trip loss). CHEAP: manual_power_w while the tariff is cheap, else 0 W. Stops on kWh budget reached. IMMEDIATE: manual_power_w. Stops on kWh budget reached. Exit to IDLE on: wallbox unavailable, wallbox idle (car finished), or mode deselected. Write gate: only on change AND >= 30 s since the last change; 0 W bypasses the rate limit. | sensor.surplus_power (rolling 30 s average of 3 samples) sensor.solar_pv_total_ac_power, sensor.house_load_power sensor.wallbox_power, sensor.wallbox_status, sensor.wallbox_energy sensor.wallbox_phases, sensor.wallbox_min_power_w, sensor.wallbox_max_power_w binary_sensor.car_ready input_select.ev_charging_mode, input_number.ev_manual_power, input_number.ev_min_solar_power, input_number.ev_target_soc sensor.smart_battery_last_known, sensor.smart_charging_max_last_known sensor.battery_state_of_capacity + 48 h forecast (Topic 1 / Topic 2 gates) EBL tariff calendar (CHEAP mode) config: no_buy_floor_percent, min_power_w, max_power_w
5 | Control entity | input_select.ev_charging_mode | HA input_select | ev_charging.mode_entity | run.py:1735, 2070 | Reset to 'solar' on an invalid value, or when the EV target is already reached | Reset to 'solar' in exactly two cases: 1. The value read is not one of off / solar / immediate / cheap (invalid -> reset). 2. A manual session (immediate or cheap) ends because the EV target SOC is already reached - the mode is dropped back to solar and a persistent notification is raised. 'off' is a sticky hard-stop and is never overridden. | input_select.ev_charging_mode (its own current value) input_number.ev_target_soc sensor.smart_battery_last_known sensor.wallbox_energy (session budget)
6 | Dashboard sensor | sensor.battery_decision | HA state push | battery.battery_decision_entity | run.py:1299 | State + full attribute dict (charge/discharge reasoning) | Advisory mirror - no rules of its own. State = 'discharge=on¦off charge=<action>'; attributes mirror the discharge decision (FSD 4.2.2) and the charge decision (4.2.3/4.2.4) computed for the two battery registers above. | All inputs of the two battery registers above (mirror only).
7 | Dashboard sensor | sensor.appliance_signal | HA state push | sensors.appliance_signal | run.py:1563 |  | FSD 4.6 - first match wins: 1. GREEN: current PV excess (pv_power - load_power) > appliances.power_w 2. ORANGE: forecast min SOC, reduced by the appliance load, still > 0 % (running it causes no grid import before the evening) 3. RED: otherwise - running it would require grid import | sensor.solar_pv_total_ac_power, sensor.house_load_power Combined PV/load forecast (simulated min SOC) config: appliances.power_w, appliances.energy_wh, capacity_kwh
8 | Dashboard sensor | sensor.ev_charge_status | HA state push | ev_charging.charge_status_entity | run.py:2128 |  | Advisory mirror of the EV state machine's state (IDLE / SOLAR / CHEAP / IMMEDIATE). Same rules as number.wallbox_power_limit. | Same as number.wallbox_power_limit (mirror only).
9 | Dashboard sensor | sensor.ev_target_power | HA state push | ev_charging.ev_target_power_entity | run.py:2140 |  | Advisory mirror of the state machine's target_power_w - published every 10 s even when the 30 s rate limit withholds the wallbox write, so the dashboard tracks intent. | Same as number.wallbox_power_limit (mirror only).
10 | InfluxDB | energy_manager / soc_forecast | InfluxDB | influxdb.output_bucket | influxdb_writer.py:75 | Scenarios: battery_on, battery_off, planned | No decision rules - a simulation dump. simulate_soc() over the combined forecast for three scenarios: battery_on (free discharge), battery_off (hold during cheap), planned (whichever the discharge decision selected). | sensor.battery_state_of_capacity, combined PV/load forecast, EBL tariff calendar, config: capacity_kwh, charge/discharge efficiency, reserve_percent
11 | InfluxDB | energy_manager / soc_forecast_snapshot | InfluxDB | influxdb.output_bucket | influxdb_writer.py:148 |  | No decision rules - the 'planned' scenario stored as a point-in-time snapshot for drift analysis. | Same as soc_forecast.
12 | InfluxDB | energy_manager / discharge_decision | InfluxDB | influxdb.output_bucket | run.py:711 | Written by EnergyManager's own write_api, not SimulationWriter | No decision rules - records the outcome of the discharge rules above (allowed, reason, min_soc_percent, current_soc). | Same as number.battery_maximum_discharging_power.
13 | InfluxDB | energy_manager / energy_balance | InfluxDB | influxdb.output_bucket | run.py:672 | PV / load / battery energy balance series | No decision rules - per-interval PV / load / battery energy balance from the forecast. | Combined PV/load forecast, sensor.battery_state_of_capacity.
14 | InfluxDB | energy_manager / appliance_signal | InfluxDB | influxdb.output_bucket | run.py:1570 | signal, reason, excess_power_w, min_soc_percent | No decision rules - records the appliance signal outcome above (signal, reason, excess_power_w, min_soc_percent). | Same as sensor.appliance_signal.
15 | InfluxDB | energy_longterm / flows_daily | InfluxDB | HARDCODED (LONGTERM_BUCKET) | flows_daily.py:313 | Daily household flows summary | compute_flows(): counter deltas over the local day, grid import/export integrated from the M-Bus power signal, production from the daily-resetting yield counters. Cost applies the EBL HT/NT calendar per hour; feed-in at the flat rate. | InfluxDB HomeAssistant: grid_power, wallbox_energy, shelly_2pm_white_switch_0/1_energy, load_energy, battery_state_of_capacity, inverter_daily_yield, enphase_energy_today EBL tariff calendar config: import_ht_chf_kwh, import_nt_chf_kwh, feed_in_chf_kwh
16 | Notification | Telegram | External | telegram_bot_token / telegram_chat_id | notifications.py:83, 96, 108 | notify_error / notify_warning / notify_info | Raised on failure/recovery conditions only, not on a schedule: - discharge register write failed after 5 retries (control_battery) - charge power write failed after 5 retries (_apply_charge_control) - SOC ceiling write failed after 5 retries (_apply_soc_ceiling) - M-Bus reading stale past the watchdog timeout, and its recovery (_watch_mbus_freshness) - IntegrationObserver test findings | HA service-call results (write failures), M-Bus staleness age, IntegrationObserver findings.
17 | Notification | HA persistent notification | HA service | - | ha_client.py:354 | create_notification() | One case: a manual (immediate/cheap) charge did not start because the EV target SOC was already reached. Suppressed when the previous state was already IMMEDIATE or CHEAP. | input_number.ev_target_soc, sensor.smart_battery_last_known, previous EV state.

## Functions
# | Module | Class | Kind | Function | Line | Docstring (first line)
1 | run.py |  | module fn | swiss_time | 48 | Format datetime in Swiss timezone.
2 | run.py |  | module fn | swiss_datetime | 55 | Format datetime in Swiss timezone with date.
3 | run.py | SwissFormatter | method | formatTime | 66
4 | run.py | EnergyManager | method | __init__ | 93
5 | run.py | EnergyManager | method | connect | 427 | Connect to services.
6 | run.py | EnergyManager | method | close | 444 | Close connections.
7 | run.py | EnergyManager | method | get_current_soc | 451 | Get current battery SOC from HA or InfluxDB.
8 | run.py | EnergyManager | method | _read_car_soc_with_fallback | 472 | Read EV SOC with fallback to last-known value from InfluxDB.
9 | run.py | EnergyManager | method | _forecast_net_steps | 500 | Yield (utc_timestamp, net_energy_wh) per forecast period.
10 | run.py | EnergyManager | method | _evaluate_both_full_by_evening | 506 | Run the 15-min p10 simulation behind Topic 2 Rule 4 (FSD 4.3.7).
11 | run.py | EnergyManager | method | _step_up_suppressed | 569 | Topic 2 Rule 4 (FSD 4.3.7) — evaluated live on the 10-s EV loop.
12 | run.py | EnergyManager | method | write_energy_balance | 600 | Write energy balance + car SOC forecast to InfluxDB.
13 | run.py | EnergyManager | method | write_decision | 706 | Write discharge decision to InfluxDB.
14 | run.py | EnergyManager | method | control_battery | 721 | Control battery discharge via Home Assistant - reads actual state and adjusts.
15 | run.py | EnergyManager | method | _update_discharge_control | 805 | Combine both discharge-block flags and apply if changed.
16 | run.py | EnergyManager | method | _car_is_full | 822 | Return whether the EV is at/above its charging target (True/False/None).
17 | run.py | EnergyManager | method | _car_departed | 851 | Return True when a shaving day's premise no longer holds (departure trigger).
18 | run.py | EnergyManager | method | _update_shaving_day_mode | 864 | Decide the day's shaving mode at the configured hour; downgrade on departure.
19 | run.py | EnergyManager | method | _charge_gate_active | 917 | Return True when export-peak-shaving may manage charging today.
20 | run.py | EnergyManager | method | control_battery_charge | 929 | Defer battery charging to shave the export peak (FSD 4.2.3).
21 | run.py | EnergyManager | method | _will_fill_today | 1076 | Check whether the battery is forecast to reach its target today.
22 | run.py | EnergyManager | method | _will_battery_fill_today_with_ev | 1128 | Return whether the home battery still reaches full today with the EV.
23 | run.py | EnergyManager | method | _calibration_charge_due | 1166 | Whether an LFP calibration full charge is due (FSD 4.2.4).
24 | run.py | EnergyManager | method | _apply_charge_control | 1200 | Set max charging power and write/log only when the value changes.
25 | run.py | EnergyManager | method | _apply_soc_ceiling | 1231 | Mirror the charge target onto the inverter's end-of-charge SOC.
26 | run.py | EnergyManager | method | publish_battery_decision | 1262 | Publish combined battery reasoning to sensor.battery_decision.
27 | run.py | EnergyManager | method | run_optimization | 1327 | Run battery optimization cycle.
28 | run.py | EnergyManager | method | calculate_appliance_signal | 1504 | Calculate and output appliance signal to Home Assistant.
29 | run.py | EnergyManager | method | _read_grid_power | 1583 | Read grid power, preferring M-Bus smart meter if fresh (<20s).
30 | run.py | EnergyManager | method | _watch_mbus_freshness | 1610 | Alert on prolonged M-Bus staleness via Telegram (FSD 4.7.5).
31 | run.py | EnergyManager | method | _extra_load_percent | 1634 | Convert extra load in Wh to SOC percentage of battery capacity.
32 | run.py | EnergyManager | method | control_ev_charging | 1640 | Control EV charging via state machine (FSD 4.5).
33 | run.py | EnergyManager | method | _query_last_value | 2127 | Query InfluxDB for the last known value of an HA entity.
34 | run.py | EnergyManager | method | _ensure_sensor_exists | 2150 | Ensure a sensor exists in HA. Restores last value from InfluxDB if missing.
35 | run.py | EnergyManager | method | _publish_initial_sensors | 2165 | Ensure all managed sensors exist in HA at startup.
36 | run.py | EnergyManager | method | write_flows_daily | 2191 | Write the daily household flows summary (long-term reporting).
37 | run.py | EnergyManager | method | start | 2198 | Start the scheduler.
38 | run.py | EnergyManager | method | stop | 2261 | Stop the scheduler.
39 | run.py |  | module fn | deep_merge | 2269 | Deep merge override into base dict. Override values win.
40 | run.py |  | module fn | load_config | 2280 | Load configuration with secrets from environment.
41 | run.py |  | module fn | main | 2354 | Run the EnergyManager add-on (CLI entry point).
42 | src/appliance_signal.py | ApplianceSignal | dataclass / enum | - | 15 | Appliance signal result.
43 | src/battery_optimizer.py |  | module fn | swiss_time | 26 | Format datetime as HH:MM in Swiss timezone.
44 | src/battery_optimizer.py | TariffPeriod | dataclass / enum | - | 34 | Tariff period information.
45 | src/battery_optimizer.py | DischargeDecision | dataclass / enum | - | 44 | Battery discharge decision.
46 | src/battery_optimizer.py | BatteryOptimizer | method | __init__ | 56
47 | src/battery_optimizer.py | BatteryOptimizer | method | _ebl_holidays | 88 | Return the 8 EBL low-tariff holidays for a year (FSD 4.2.2).
48 | src/battery_optimizer.py | BatteryOptimizer | method | is_holiday | 106 | Check if date is an EBL low-tariff holiday (computed, FSD 4.2.2).
49 | src/battery_optimizer.py | BatteryOptimizer | method | is_weekend | 110 | Check if date is weekend (Saturday=5, Sunday=6).
50 | src/battery_optimizer.py | BatteryOptimizer | method | is_cheap_day | 114 | Check if entire day is cheap (weekend or holiday).
51 | src/battery_optimizer.py | BatteryOptimizer | method | _soc_at_time | 118 | Extract SOC percentage at a target time from a simulation DataFrame.
52 | src/battery_optimizer.py | BatteryOptimizer | method | expensive_mask | 127 | Boolean Series (indexed by `index`): True for expensive Hochtarif slots.
53 | src/battery_optimizer.py | BatteryOptimizer | method | filter_expensive_periods | 148 | Filter simulation to only expensive weekday periods (06:15-21:00).
54 | src/battery_optimizer.py | BatteryOptimizer | method | get_tariff_periods | 154 | Calculate tariff periods based on current time.
55 | src/battery_optimizer.py | BatteryOptimizer | method | simulate_soc | 244 | Simulate the SOC trajectory with optional discharge blocking.
56 | src/battery_optimizer.py | BatteryOptimizer | method | compute_charge_target | 338 | Dynamic home-battery charge ceiling (Section 4.2.4).
57 | src/battery_optimizer.py | BatteryOptimizer | method | reaches_target_today | 446 | Report whether the battery reaches `target`% today, re-anchored to live SOC.
58 | src/battery_optimizer.py | BatteryOptimizer | method | calculate_decision | 490 | Decide whether the home battery may discharge (FSD 4.2.2, Topic 4).
59 | src/battery_optimizer.py |  | module fn | should_charge_now | 597 | Decide whether to charge the home battery now (export-peak shaving).
60 | src/ev_battery.py | EVBatteryOptimizer | method | __init__ | 36
61 | src/ev_battery.py | EVBatteryOptimizer | method | check_ev_safe | 51 | Return (safe, min_soc_in_horizon_percent) — EV charge gate (Rule 4).
62 | src/ev_battery.py | EVBatteryOptimizer | method | will_battery_hit_full | 103 | Check if the home battery is forecast to reach `full_threshold` today.
63 | src/ev_charging.py |  | module fn | power_steps_for_phases | 36 | Return the power-step table for the connected cable's phase count.
64 | src/ev_charging.py |  | module fn | solar_start_threshold | 41 | Minimum surplus (W) required to start solar charging.
65 | src/ev_charging.py | EVChargingResult | dataclass / enum | - | 59 | Result of EV charging power calculation.
66 | src/ev_charging.py |  | module fn | resolve_phase_gap | 67 | Snap target out of the 1φ/3φ dead zone (3680–4140 W).
67 | src/ev_charging.py |  | module fn | calculate_ev_power | 78 | Calculate target EV charging power from solar excess.
68 | src/ev_charging.py |  | module fn | snap_to_power_step | 112 | Snap surplus to the best discrete power step within [min, max].
69 | src/ev_charging.py |  | module fn | simulate_house_and_car | 137 | Allocate forecast net energy to the house battery, then the car.
70 | src/ev_charging.py |  | module fn | build_solar_candidates | 175 | Decide solar-mode power-step candidates (Topics 1 & 2).
71 | src/ev_goal_mode.py | ChargingModeResult | dataclass / enum | - | 19 | Result of charging mode calculation.
72 | src/ev_goal_mode.py |  | module fn | calculate_charging_mode | 29 | Calculate charging power and status based on the active mode.
73 | src/ev_state_machine.py | EVState | dataclass / enum | - | 27 | EV charging states (str so it works as an HA sensor value).
74 | src/ev_state_machine.py | EVInputs | dataclass / enum | - | 42 | All inputs needed for one step() call.
75 | src/ev_state_machine.py | EVOutput | dataclass / enum | - | 69 | Decision produced by step().
76 | src/ev_state_machine.py | EVStateMachine | method | __init__ | 88
77 | src/ev_state_machine.py | EVStateMachine | method | step | 97 | One cycle: evaluate transitions from current state, return output.
78 | src/ev_state_machine.py | EVStateMachine | method | _set_state | 119
79 | src/ev_state_machine.py | EVStateMachine | method | _snapshot_budget | 122
80 | src/ev_state_machine.py | EVStateMachine | method | _clear_budget | 133
81 | src/ev_state_machine.py | EVStateMachine | method | _budget_check | 138 | Return a stop-reason if charging should end, else None.
82 | src/ev_state_machine.py | EVStateMachine | method | _enter_immediate | 203 | Transition into IMMEDIATE: snapshot budget and short-circuit if exhausted.
83 | src/ev_state_machine.py | EVStateMachine | method | _enter_cheap | 215 | Transition into CHEAP: snapshot budget and short-circuit if exhausted.
84 | src/ev_state_machine.py | EVStateMachine | method | _step_idle | 234
85 | src/ev_state_machine.py | EVStateMachine | method | _step_solar | 257
86 | src/ev_state_machine.py | EVStateMachine | method | _step_cheap | 291
87 | src/ev_state_machine.py | EVStateMachine | method | _step_max | 330
88 | src/flows_daily.py |  | module fn | compute_flows | 39 | Pure computation of the flows_daily fields (unit-testable).
89 | src/flows_daily.py | FlowsDaily | method | __init__ | 107
90 | src/flows_daily.py | FlowsDaily | method | close | 132
91 | src/flows_daily.py | FlowsDaily | method | _query | 135
92 | src/flows_daily.py | FlowsDaily | method | _counter_delta | 141 | Reset-safe counter increase per window (sum of positive differences).
93 | src/flows_daily.py | FlowsDaily | method | _grid_energy | 165 | Integrate the signed M-Bus power into import/export kWh per window.
94 | src/flows_daily.py | FlowsDaily | method | _counter_max | 201 | Day total of a midnight-resetting counter = its max over the day.
95 | src/flows_daily.py | FlowsDaily | method | _soc_range | 218 | Daily (min, max) battery SOC as 0–1 fractions.
96 | src/flows_daily.py | FlowsDaily | method | _production_total | 247
97 | src/flows_daily.py | FlowsDaily | method | write_summary | 266 | Compute and write the flows_daily point for one local day (default today).
98 | src/forecast_reader.py |  | module fn | _swiss | 18 | Format a timezone-aware timestamp (or naive UTC) in Swiss local time.
99 | src/forecast_reader.py | ForecastReader | method | __init__ | 31
100 | src/forecast_reader.py | ForecastReader | method | connect | 48 | Connect to InfluxDB.
101 | src/forecast_reader.py | ForecastReader | method | close | 54 | Close connection.
102 | src/forecast_reader.py | ForecastReader | method | get_pv_forecast | 59 | Get PV energy forecast.
103 | src/forecast_reader.py | ForecastReader | method | get_load_forecast | 109 | Get Load energy forecast.
104 | src/forecast_reader.py | ForecastReader | method | get_combined_forecast | 152 | Get combined PV and Load forecast.
105 | src/forecast_reader.py | ForecastReader | method | get_forecast_age_seconds | 221 | Age (seconds) of the last *good* PV forecast, from its heartbeat.
106 | src/forecast_reader.py | ForecastReader | method | get_current_soc | 284 | Get current battery SOC from InfluxDB.
107 | src/ha_client.py | HAClient | method | __init__ | 20
108 | src/ha_client.py | HAClient | method | token | 30 | Get token - check environment each time (no caching).
109 | src/ha_client.py | HAClient | method | _headers | 52 | Get request headers.
110 | src/ha_client.py | HAClient | method | _api_url | 59 | Build API URL - handle supervisor vs direct access.
111 | src/ha_client.py | HAClient | method | get_state | 68 | Get entity state.
112 | src/ha_client.py | HAClient | method | get_sensor_value | 95 | Get numeric sensor value.
113 | src/ha_client.py | HAClient | method | _already_at | 113 | Whether the entity already holds `value` (within WRITE_TOLERANCE).
114 | src/ha_client.py | HAClient | method | set_number | 131 | Set a number entity value, skipping no-op writes, with retry logic.
115 | src/ha_client.py | HAClient | method | get_battery_soc | 219 | Get current battery SOC.
116 | src/ha_client.py | HAClient | method | get_number_value | 231 | Get numeric value from a number entity.
117 | src/ha_client.py | HAClient | method | get_battery_discharge_power | 252 | Get current maximum battery discharge power setting.
118 | src/ha_client.py | HAClient | method | set_battery_discharge_power | 267 | Set maximum battery discharge power with retry logic.
119 | src/ha_client.py | HAClient | method | get_input_boolean | 286 | Get input_boolean state.
120 | src/ha_client.py | HAClient | method | set_input_boolean | 299 | Set input_boolean on or off.
121 | src/ha_client.py | HAClient | method | get_input_select | 329 | Get input_select state.
122 | src/ha_client.py | HAClient | method | set_input_select | 334 | Set input_select to a specific option.
123 | src/ha_client.py | HAClient | method | create_notification | 354 | Create/replace a Home Assistant persistent notification (UI feedback).
124 | src/ha_client.py | HAClient | method | set_sensor_state | 381 | Set a sensor entity state directly via REST API.
125 | src/influxdb_writer.py | SimulationWriter | method | __init__ | 16
126 | src/influxdb_writer.py | SimulationWriter | method | connect | 32 | Connect to InfluxDB.
127 | src/influxdb_writer.py | SimulationWriter | method | close | 39 | Close connection.
128 | src/influxdb_writer.py | SimulationWriter | method | write_soc_forecast | 44 | Write SOC forecast to InfluxDB.
129 | src/influxdb_writer.py | SimulationWriter | method | write_decision | 87 | Write discharge decision to InfluxDB.
130 | src/influxdb_writer.py | SimulationWriter | method | write_forecast_snapshot | 120 | Write forecast snapshot for accuracy tracking.
131 | src/integration_observer.py | CycleSnapshot | dataclass / enum | - | 29 | All data from one control_ev_charging() cycle.
132 | src/integration_observer.py | TestResult | dataclass / enum | - | 44 | Persistent per-test state.
133 | src/integration_observer.py | _TestDef | dataclass / enum | - | 64
134 | src/integration_observer.py | IntegrationObserver | method | __init__ | 110
135 | src/integration_observer.py | IntegrationObserver | method | observe | 128 | Process one observation cycle (never raises).
136 | src/integration_observer.py | IntegrationObserver | method | _observe_inner | 137
137 | src/integration_observer.py | IntegrationObserver | method | _evidence | 190
138 | src/integration_observer.py | IntegrationObserver | method | _save_report | 204
139 | src/integration_observer.py | IntegrationObserver | method | _load_report | 235
140 | src/integration_observer.py | IntegrationObserver | method | _detect_no01 | 269 | NO-01: IDLE stays when wallbox unavailable.
141 | src/integration_observer.py | IntegrationObserver | method | _detect_no02 | 276 | NO-02: IDLE->SOLAR on charging power>0.
142 | src/integration_observer.py | IntegrationObserver | method | _detect_no05 | 287 | NO-05: SOLAR power equals charging power.
143 | src/integration_observer.py | IntegrationObserver | method | _detect_no06 | 296 | NO-06: IDLE->IMMEDIATE.
144 | src/integration_observer.py | IntegrationObserver | method | _detect_no07 | 308 | NO-07: IMMEDIATE->IDLE mode change.
145 | src/integration_observer.py | IntegrationObserver | method | _detect_no08 | 317 | NO-08: Immediate->solar sends 0W (bug-fix check).
146 | src/integration_observer.py | IntegrationObserver | method | _detect_no09 | 326 | NO-09: IDLE->CHEAP.
147 | src/integration_observer.py | IntegrationObserver | method | _detect_no10 | 335 | NO-10: CHEAP charges at max (cheap tariff).
148 | src/integration_observer.py | IntegrationObserver | method | _detect_no11 | 344 | NO-11: CHEAP pauses (expensive tariff).
149 | src/integration_observer.py | IntegrationObserver | method | _detect_no12 | 353 | NO-12: IMMEDIATE blocks discharge.
150 | src/integration_observer.py | IntegrationObserver | method | _detect_no13 | 361 | NO-13: SOLAR exits when charging power=0.
151 | src/integration_observer.py | IntegrationObserver | method | _detect_ec02 | 378 | EC-02: SOLAR does NOT block discharge.
152 | src/integration_observer.py | IntegrationObserver | method | _detect_ec03 | 384 | EC-03: CHEAP blocks discharge when charging.
153 | src/integration_observer.py | IntegrationObserver | method | _detect_ec04 | 395 | EC-04: CHEAP unblocks at expensive tariff.
154 | src/integration_observer.py | IntegrationObserver | method | _detect_ec08 | 406 | EC-08: SOLAR->IMMEDIATE.
155 | src/integration_observer.py | IntegrationObserver | method | _detect_ec09 | 418 | EC-09: SOLAR->CHEAP.
156 | src/integration_observer.py | IntegrationObserver | method | _detect_ec05 | 427 | EC-05: Battery protection blocks SOLAR entry.
157 | src/integration_observer.py | IntegrationObserver | method | _detect_ec06 | 444 | EC-06: Battery protection exits SOLAR.
158 | src/integration_observer.py | IntegrationObserver | method | _detect_ec12 | 469 | EC-12: Power limit sent only on change.
159 | src/integration_observer.py | IntegrationObserver | method | _detect_ec13 | 488 | EC-13: Auto-revert — mode resets to solar after idle timeout.
160 | src/integration_observer.py | IntegrationObserver | method | _detect_ec14 | 505 | EC-14: Faulted/Unknown wallbox status -> IDLE.
161 | src/integration_observer.py | IntegrationObserver | method | _detect_ec15 | 512 | EC-15: CHEAP->IDLE clears discharge block.
162 | src/integration_observer.py | IntegrationObserver | method | _detect_ec16 | 525 | EC-16: Idle detection exits to IDLE.
163 | src/mbus_watchdog.py | MbusWatchdog | method | update | 38 | Advance the state machine with the latest read.
164 | src/mbus_watchdog.py | MbusWatchdog | method | stale_seconds | 65 | Return how long the meter has been continuously stale, in seconds.
165 | src/notifications.py |  | module fn | init_telegram | 19 | Initialize Telegram credentials from config.
166 | src/notifications.py |  | module fn | is_configured | 39 | Check if Telegram notifications are configured.
167 | src/notifications.py |  | module fn | send_telegram | 44 | Send a message via Telegram.
168 | src/notifications.py |  | module fn | notify_warning | 83 | Send a warning notification.
169 | src/notifications.py |  | module fn | notify_error | 96 | Send an error notification (with sound).
170 | src/notifications.py |  | module fn | notify_info | 108 | Send an info notification.
171 | src/sanity.py |  | module fn | validate_power_readings | 18 | Check power readings against known physical bounds.

## Excluded
Read but never used
Belongs to the Smart car integration. Read hourly by update_car_soc() (run.py:2173-2201, scheduled run.py:2331) and consumed only by one log line.
# | Entity | Code ref | Why it is not an input
1 | sensor.smart_charging_status | was run.py:2183 | Read into charger_str; consumed only by a logger.info. REMOVED in 1.9.19 with update_car_soc()
2 | sensor.smart_charging_current | was run.py:2184 | Read into current_a; consumed only by a logger.info. REMOVED in 1.9.19
3 | sensor.smart_charging_time_remaining | was run.py:2185 | Read into time_min; consumed only by a logger.info. REMOVED in 1.9.19
4 | sensor.smart_range | was run.py:2186 | Read into range_km; consumed only by a logger.info. REMOVED in 1.9.19
5 | SimulationWriter.write_decision() | influxdb_writer.py:87 | DEAD CODE - never called. discharge_decision is written by EnergyManager.write_decision (run.py:706) using its own write_api